BLUE PLAINS SERVICE AREA (BPSA)

WASTEWATER BILLING METER VERIFICATION PROGRAM

SCOPE OF WORK (revised draft of Phase I, 10/9/06)

SCOPE OF PROJECT

The overall purpose of this project is develop a comprehensive plan to conduct an independent, routine calibration program for various billing meters within the BPSA, and to identify what technical services and expertise would be required of a firm selected to implement that program.  Phase I of this project will be to assess an existing technical report that addressed these billing meters, to update its findings as appropriate, and to outline the technical requirements for establishing an independent calibration program.  Phase II will implement the actual calibration program and potentially other meter maintenance services.

PHASE I - Task 1

Consultant will review Metcalf & Eddy’s (M&E) Potomac Interceptor Study:  Wastewater Flow Meter Analysis & Management Plan (Volumes 1, 2 & 3; April 2001), and prepare an updated assessment of the billing meters’ current status – noting any new or modified meters.  Approximately 54 (+ ~3 on-site at Blue Plains) meters will be reviewed as part of this assessment.  This assessment will include interviews with staff from each jurisdiction/agency that currently maintains these billing meters, as well as site visits to each meter in order to confirm the physical requirements associated with conducting calibrations at each meter.

Product:  Produce an updated list of all meters to be addressed under this calibration program; an assessment of their general condition, and noting any location or access issues that need to be accounted for when a contractor plans for/budgets for doing the actual calibration work.

PHASE I - Task 2

Consultant will develop a comprehensive plan for conducting the billing meter calibrations.  The calibrations are envisioned to be conducted on an annual basis by an independent third-party coordinating with the appropriate jurisdictions and their staff.  The plan shall include a list of elements that the calibration program needs to address, a description of the skills, expertise and experience that a firm would need in order to conduct the calibrations/verifications, and an estimate of the level of effort and potential cost of implementing such a program.

PHASE I - Task 3

After Tasks 1 and 2 are completed, the consultant will be asked to develop recommendations for a range of meter maintenance services that each of the agencies/jurisdictions could selectively contract for (based on their individual needs) utilizing the same firm that ultimately performs the meter calibration work.  These services may include data gathering, meter repair and replacement, and other equipment and system maintenance support services.

KEY DELIVERABLES

- Monthly status reports

- Presentation to BPC with submission of each Tech. Memo

- Draft Technical Memorandum

- Final Technical Memorandum

SCHEDULE (conceptual)

Issue RFQ – mid-November

Pre-proposal meeting –  late November

Selection Committee meeting/consultant selection – early December

Initiate contract –  mid- to late December

Field work – January through March 2007

Produce draft/final technical memorandums –  April – June 2007

Initiate Phase II effort – after July 2007

/tmp/in/input.doc